## Sheet1
ID | Date | Unstructured Text | NLP Identified Item | NLP Identified Activity | NLP Identified Subunit | Work Order Type | Labor Cost | Material Cost | Correct Class (from logic tree)
1 | 2012-10-18 | pressure switch undersize | pressure switch | none | control and monitoring | corrective | 560.96 | 821.74 | repair/replace
2 | 2013-02-14 | remove pressure switch | pressure switch | remove | control and monitoring | corrective | 1292.13 | 711.11 | repair/replace
3 | 2013-03-19 | calibrate pressure switch | pressure switch | calibrate | control and monitoring | corrective | 413.48 | 0 | adjust/ calibrate
4 | 2013-04-29 | pump not pumping well | pump | none | pump unit | corrective | 516.85 | 0 | diagnose
5 | 2013-05-21 | pressure switch leaking | pressure switch | none | control and monitoring | corrective | 560.96 | 700 | repair/ replace
6 | 2013-06-03 | calibrate pressure switch | pressure switch | calibrate | control and monitoring | corrective | 0 | 0 | Work not actioned
7 | 2013-06-18 | 18M electrical service motor | motor | service | driver and electrical | preventative | 258.43 | 0 | service
8 | 2013-06-28 | calibrate pressure switch | pressure switch | calibrate | control and monitoring | corrective | 322.26 | 0 | adjust/ calibrate
9 | 2013-08-07 | calibrate pressure switch | pressure switch | calibrate | control and monitoring | corrective | 400.31 | 0 | adjust/ calibrate
10 | 2013-10-06 | calibrate pressure switch | pressure switch | calibrate | control and monitoring | corrective | 413.48 | 1455 | repair/ replace
11 | 2013-10-06 | valbe needs replacing | valve | remove | piping and valves | corrective | 650.6 | 344.52 | repair/ replace
12 | 2013-12-23 | Investigate oil leak | oil | investigate | lubrication | corrective | 0 | 0 | Work not actioned
13 | 2014-02-10 | seal leaking | mechanical seal | none | pump unit | corrective | 3195.48 | 5062.28 | repair/ replace
14 | 2014-03-20 | pressure switch unserviceable | pressure switch | none | control and monitoring | corrective | 680.81 | 1133.13 | repair/ replace
15 | 2014-05-31 | check pressure switch | pressure switch | check | control and monitoring | corrective | 145.34 | 0 | adjust/ calibrate
16 | 2014-07-01 | pump not pumping | pump | none | pump unit | corrective | 64 | 0 | diagnose
17 | 2014-11-04 | install new pressure switch | pressure switch | install | control and monitoring | corrective | 400.31 | 0 | adjust/ calibrate
18 | 2014-12-16 | 78W electrical service motor | motor | service | driver and electrical | preventative | 131.4 | 0 | service
19 | 2014-12-31 | 26W mechanical service pump | pump | service | pump unit | preventative | 0 | 0 | Work not actioned
20 | 2015-03-25 | pressure switch failure | pressure switch | none | control and monitoring | corrective | 82.38 | 0 | adjust/ calibrate
21 | 2015-04-20 | replace pressure switch | pressure switch | replace | control and monitoring | corrective | 348.71 | 1200 | repair/ replace
22 | 2015-05-16 | motor tripping on high amps | motor | none | driver and electrical | corrective | 270.85 | 0 | adjust/ calibrate
23 | 2015-05-19 | repair pressure switch | pressure switch | repair | control and monitoring | corrective | 541.69 | 0 | adjust/ calibrate
24 | 2015-06-05 | 26W mech service pump | pump | service | pump unit | preventative | 322.92 | 110.59 | service
25 | 2015-11-24 | 26W mech service pump | pump | service | pump unit | preventative | 478.77 | 110.6 | service
26 | 2016-06-17 | 78W electrical service motor | motor | service | driver and electrical | preventative | 91.18 | 0 | service
27 | 2017-06-04 | replace pump | pump | replace | pump unit | corrective | 5168.6 | 15370.28 | repair/ replace
28 | 2017-06-12 | 78W electrical service motor | motor | service | driver and electrical | preventative | 868.73 | 0 | service
29 | 2018-06-15 | change oil | oil | change | lubrication | corrective | 601.07 | 0 | adjust/ calibrate
30 | 2018-07-03 | oil leak from housing seal | mechanical seal | none | pump unit | preventative | 8632.82 | 8369.93 | replace
31 | 2019-01-06 | pump is tripping | pump | none | pump unit | corrective | 282.81 | 0 | diagnose
32 | 2019-06-06 | 78W electrical service motor | motor | service | driver and electrical | preventative | 726.03 | 0 | service
33 | 2019-11-26 | faulty flowmeter | flowmeter | none | control and monitoring | corrective | 269.2 | 0 | adjust/ calibrate
34 | 2020-02-19 | repair pump | pump | repair | pump unit | corrective | 3207.65 | 566.66 | repair/ replace
35 | 2020-04-14 | pressure switch faulty | pressure switch | none | control and monitoring | corrective | 99.36 | 0 | adjust/ calibrate
36 | 2020-04-22 | replace pressure switch | pressure switch | replace | control and monitoring | corrective | 198.72 | 2021 | repair/ replace